## Sheet1
Wastewater pumped for each pump in each lift station
| Peiod From Date | Period To Date | Lift Station ID | Duration of time Pump is on (Minutes) | Pump Rating (GPM) | Amount Pumped (Gal)
| 2017-01-01 | 2017-01-31 | Serria North-1 | 360 | 500 | 180000 | Combining these two pump flows, we see that Serria North -1 LS pumped 261,000 gallons in January, 2017
| 2017-01-01 | 2017-01-31 | Serria North-1 | 270 | 300 | 81000